| Title | Demonstrate knowledge of electrical theory and lighting equipment for stage lighting for a performance or event |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to explain: electrical theory for stage lighting; the properties and use of lighting fixtures, effects, data distribution and control equipment for a performance or event; and the qualities of light. |
| --- | --- |

| Classification | Performing Arts General > Entertainment and Event Technology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All learning and assessment leading to this unit standard must be carried out in accordance with the following as relevant:

- legislation including Health and Safety at Work Act 2015 and subsequent amendments;

- current industry best practice and industry guidelines (where available) including Safe Rigging Practices for the Entertainment Industry in New Zealand, version 1, and A Guide for Safe Working Practices in the New Zealand Theatre & Entertainment Industry, version 15, or replacements that supersede these guidelines, available from the Entertainment Technology New Zealand (ETNZ) website, https://etnz.org.

- Additional relevant guidelines available from the WorkSafe website, www.worksafe.govt.nz.

2	The Entertainment and Event Technology programme guidance document should be consulted when developing assessments leading to this unit standard.  It can be found at toimai.nz.

3	Definition

DMX refers to a communication protocol, used to communicate between lighting consoles and other devices such as dimmers and intelligent fixtures.

Art-net refers to a communications protocol that allows lighting data to be transported over a network.

Outcomes and performance criteria

Outcome 1

Explain electrical theory for stage lighting.

Performance criteria

1.1	Explain electrical systems in terms of stage lighting.

1.2	Use industry terminology to interpret lighting plan requirements.

1.3	Explain the difference and relative advantages of Class I and Class II electrical equipment, in terms of safety, earthing and testing requirements.

1.4	Explain how the parts of a simple lighting system work together.

Range	includes but not limited to - dimmer, lighting unit, control unit.

Outcome 2

Explain the properties and use of lighting fixtures, effects, data distribution and control equipment for a performance or event.

Performance criteria

2.1	Explain the types, properties and use of lighting fixtures, accessories and effects for entertainment or events.

Range	includes but not limited to - generic lighting units, moving lights, incandescent lights, LED lights, barn doors, top hats, gobo.

2.2	Explain the types and use of lighting control equipment for entertainment or events.

2.3	Explain the types, properties and use of data distribution in terms of its different parts and limitations.

Range	may include but is not limited to – DMX, Art-net.

2.4	Explain the importance of cleaning and maintaining optimum condition of lighting fixtures and accessories.

2.5	Explain risks and procedures to prevent accidents or injuries associated with lighting instruments in terms of safety guidelines.

Outcome 3

Explain the qualities of light.

Performance criteria

3.1	Explain how the eye and brain process light and colour.

3.2	Explain colour temperature and colour mixing as it relates to entertainment or event lighting.

3.3	Explain the difference between additive and subtractive colour mixing.

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 September 2017 | 31 December 2026 |
| Review | 2 |  | N/A |

| Consent and Moderation Requirements (CMR) reference | 0099 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Toi Mai Workforce Development Council qualifications@toimai.nz if you wish to suggest changes to the content of this unit standard.