| Title | Install, operate and remove lighting systems for performances or events |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | People credited with this unit standard are able to: interpret a lighting plan and documentation; implement lighting documentation; apply knowledge of electrical theory, lighting equipment, checks and accessories for stage lighting; programme a lighting console; operate a lighting console for a pre-programmed performance or event; operate a lighting console to busk; and remove and pack out lighting equipment for a performance or event. |
| --- | --- |

| Classification | Performing Arts General > Entertainment and Event Technology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Recommended skills and knowledge: Unit 17600, Explain safe work practices for working at heights.

2	All learning and assessment leading to this unit standard must be carried out in accordance with the following as relevant:

- legislation including Health and Safety at Work Act 2015 and subsequent amendments;

- current industry best practice and industry guidelines (where available) including Safe Rigging Practices for the Entertainment Industry in New Zealand, version 1, and A Guide for Safe Working Practices in the New Zealand Theatre & Entertainment Industry, version 15, or replacements that supersede these guidelines, available from the Entertainment Technology New Zealand (ETNZ) website, https://etnz.org.

- Additional relevant guidelines available from the WorkSafe website, www.worksafe.govt.nz.

3	The Entertainment and Event Technology programme guidance document should be consulted when developing assessments leading to this unit standard.  It can be found at toimai.nz.

3	Technical skills must be demonstrated across a range of performances and events of sufficient depth to give the learner the opportunity to consistently demonstrate achievement of the standard outcomes.

4

Outcomes and performance criteria

Outcome 1

Interpret a lighting plan and documentation for a performance or event.

Performance criteria

  - Interpret the lighting plan to determine the resources required.

Range	includes but not limited to - instrument schedule, accessories, cable schedule, patching requirements.

1.2	Interpret the lighting plan to determine lighting fixture positions and any additional rigging that may be required.

Outcome 2

Implement lighting documentation for a performance or event.

Performance criteria

2.1	Select, prepare, rig, patch, and label equipment according to the requirements of the design.

2.2	Carry out preparation for focusing lighting.

2.3	Communicate using appropriate terminology throughout the installation, focus, plotting and during operation of the performance or event.

2.4	Safely use personal protective equipment (PPE) related to height safety, ladders, elevated working platforms in accordance with safety guidelines and legislation.

2.5	Demonstrate focusing techniques to meet production requirements.

2.6	Demonstrate problem solving techniques to resolve issues with lighting quality and equipment malfunctions.

2.7	Maintain the lighting documentation to reflect changes.

Outcome 3

Apply knowledge of electrical theory, lighting equipment, checks and accessories for stage lighting.

Performance criteria

3.1	Explain electrical power cabling for lighting equipment relative to current handling capacity,

Range: incudes - single phase, three phase and multicore

3.2	Calculate current draw in a range of stage lighting situations.

3.3	Explain circuit protection in a range of situations in accordance with safety guidelines and legislation.

3.4	Use protection devices according to the conditions and workplace procedures and guidelines.

3.5	Check lighting equipment safety requirements in accordance with electrical safety guidelines and legislation.

Range	includes portable appliance testing (PAT)

Outcome 4

Programme a lighting console for a performance or event.

Performance criteria

4.1	Programme a console to meet production requirements.

Range	intensity, movement, colour, beam,special effects

4.2	Determine scenes and apply cues according to the performance requirements.

4.3	Apply protocols to record cues and scenes in a lighting console.

Range - may include but not limited to: Latest Takes Precedence (LTP), Highest Takes Precedence (HTP), cue only, tracking

Outcome 5

Operate a lighting console for a pre-programmed performance or event.

Performance criteria

5.1	Operate lighting console to play back the lighting states on cue and meet lighting design requirements.

5.2	Use a cue sheet with lighting cues to meet the requirements of the performance or event.

Outcome 6

Operate a lighting console to busk a performance or event.

Performance criteria

6.1	Programme the lighting console to enable quick replay of desired scenes.

6.2	Label the lighting console appropriately ensuring any special requirements for the production are documented.

6.3

6. 3	Operate lighting console to meet the requirements of a performance or event

Outcome 7

Remove and pack out lighting equipment for a performance or event.

Performance criteria

7.1	Dismantle lighting equipment in accordance with safety guidelines.

7.2	Remove labelling and identify any faulty equipment in accordance with organisational policy.

7.3	Demonstrate safe lifting and manual handling of lighting equipmentin accordance with safety guidelines.

7.4	Update production documentation and attend debrief meetings as required.

7.

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 September 2017 | 31 December 2026 |
| Review | 2 |  | N/A |

| Consent and Moderation Requirements (CMR) reference | 0099 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Toi Mai Workforce Development Council qualifications@toimai.nz if you wish to suggest changes to the content of this unit standard.